## Cover Sheet
Armenia International Airports
Presidential Terminal
Maintenance Contract
List of Equipment

## Split AC
SPLIT AC
Unit # | Location | Service | Model # | Serial # | Make | Capacity, KW | Type | Remarks
AC-5.1 | SS room | SS room | PEFY-P100VMH-E |  | Mistubishi |  | Wall Mounted
AC-5.2 | SS room | SS room | PEFY-P100VMH-E |  | Mistubishi |  | Wall Mounted
AC-5.3 | El Room | El Room | PEFY-P250VMH - E |  | Mistubishi |  | Ducted
AC-5.4 | El Room | El Room | PEFY-P250VMH - E |  | Mistubishi |  | Ducted
AC-5.5 | Visualization RM | Visualization RM | PEFY-P100VMH-E |  | Mistubishi |  | Wall Mounted
AC-5.6 | Visualization RM | Visualization RM | PEFY-P100VMH-E |  | Mistubishi |  | Wall Mounted
AC-5.7 | Data Room | Data Room | PEFY-P100VMH-E |  | Mistubishi |  | Wall Mounted
AC-5.8 | Data Room | Data Room | PEFY-P100VMH-E |  | Mistubishi |  | Wall Mounted

## HP & El heaters
HP & ELECTRIC HEATERS
| Unit # | Location | Service | Model # | Serial # | Make | Htg Cap, KW | Clg cap, KW | cfm | Type | Remarks
1 | HP-1.1 | Atik | Entrance & Security | PEFY-P100VMH-E |  | Mistubishi |  |  |  | Ducted
2 | HP-1.2 | Atik | Administration - Staff | PEFY-P100VMH-E |  | Mistubishi |  |  |  | Ducted
3 | HP-2.1 | Atik | Lobby | PEFY-P250VMH - E |  | Mistubishi |  |  |  | Ducted
4 | HP-2.2 | Atik | Corridore | PEFY-P250VMH - E |  | Mistubishi |  |  |  | Ducted
5 | HP-2.3 | Atik | Entrance & Offices | PEFY-P250VMH - E |  | Mistubishi |  |  |  | Ducted
6 | HP-3.1 | Atik | Presidential Lobby | PEFY-P100VMH-E |  | Mistubishi |  |  |  | Ducted
7 | HP-3.2 | Atik | PM Area | PEFY-P100VMH-E |  | Mistubishi |  |  |  | Ducted
8 | HP-3.3 | Atik | Presidential Suite | PEFY-P100VMH-E |  | Mistubishi |  |  |  | Ducted
9 | HP-4.1 | Atik | Outside Air intake | PEFY-P250VMH-E |  | Mistubishi |  |  |  | Ducted
10 | HP-4.2 | Atik | Outside Air intake | PEFY-P250VMH-E |  | Mistubishi |  |  |  | Ducted
| Unit # | Location | Service | Model # | Serial # | Make |  |  | Capacity, W | Type | Remarks
1 | EH-1 | Atik |  | BTE 552 |  | Coster |  |  | 2500
2 | EH-2 | Atik |  | BTE 552 |  | Coster |  |  | 2500
3 | EH-3 | Atik |  | BTE 552 |  | Coster |  |  | 2500
4 | EH-4 | Atik |  | BTE 552 |  | Coster |  |  | 733
5 | EH-5 | Atik |  | BTE 552 |  | Coster |  |  | 733
6 | EH-6 | Atik |  | BTE 552 |  | Coster |  |  | 4000
7 | EH-7 | Atik |  | BTE 552 |  | Coster |  |  | 4000
8 | EH-8 | Atik |  | BTE 552 |  | Coster |  |  | 2250
9 | EH-9 | Atik |  | BTE 552 |  | Coster |  |  | 2089
10 | EH-10 | Atik |  | BTE 552 |  | Coster |  |  | 2000
11 | EH-11 | Atik |  | BTE 552 |  | Coster |  |  | 1100
12 | EH-12 | Atik |  | BTE 552 |  | Coster |  |  | 900
25305

## Fan
Fans
Unit # | Location | Serivce | Model # | Serial # | Make | Type | Motor KW | CFM | Voltage | Remarks
TEF-1 | Atik | Toilet | KD 400 XL3 |  | System Air | Inline
TEF-1 | Roof | Pres Toilet |  |  |  | Roof mounted
KEF-1 | Atik | Kitchen | KBT 280 DV |  | System Air | Inline

## Air curtains
Air Curtains
Unit # | Location | Serivce | Model # | Make | Type | Cap, KW | Voltage | Remarks
AC-1 |  |  | AR2000 | Frico | Ceiling type
AC-2 |  |  | AR2000 | Frico | Ceiling type
AC-3 |  |  | AR2000 | Frico | Ceiling type
AC-4 |  |  | AR2000 | Frico | Ceiling type
AC-5 |  |  | AR2000 | Frico | Ceiling type
AC-6 |  |  | AR2000 | Frico | Ceiling type
AC-7 |  |  | AR2000 | Frico | Ceiling type
AC-8 |  |  | AR2000 | Frico | Ceiling type

## UPS
UPS
Unit # | Location | Serivce | Model # | Make | Type | Capacity, KVA | Voltage | Remarks
UPS-1 | El Room |  | Green Point | Siel |  | 10
UPS-2 | El Room |  | Safe Power | Siel |  | 60

## Transformer
Transformer
Unit # | Location | Serivce | Model # | Make | Type | Capacity, KVA | Voltage | Remarks
TFM-1 | El SS | Presidential | TMA | TMC | Dry | 800 | 6Kv-400v
TFM-2 | El SS | Presidential | TMA | TMC | Dry | 800 | 6Kv-400v

## Panels
Panels
Unit # | Location | Serivce | Model # | Make | Type | Capacity, AMPS | Voltage | Remarks
TG-PR-1 | El Rm |  | Omicron
TG-PR-2 | El Rm |  | Omicron
TG-PR-3 | El Rm |  | Omicron
TT-CCTV | Data Rm |  | Omicron
TP-010 | SS Office |  | Omicron
TP-013 | Visualisation RM |  | Omicron
TP-021 | Data Rm |  | Omicron
EP-LV | El SS |  | Omicron