REPUBLIC OF ARMENIA

Improvement of Non-Communicable Diseases Prevention and Control at Primary Health Care Level, Grant from the Eurasian Fund for Stabilization and Development

Addenda #1

To the Bidding Document for Procurement of Goods:

Procurement of Mobile mammography unit for screening program, ICB No NCDPCP/ICB/A-G/018-01

Purchaser: “Health projects implementation unit” SA

Dear Sir/Madam,

Please take the following into consideration during your bid preparation:

- In the Section II. Bid Data Sheet (BDS), part D. Submission and Opening of Bids, ITB 22.1 and Section IX. Special Conditions of Contract, GCC 8.1 words “Attention to: Hayk Sayadyan” should be replaced with words “Attention to: Kristine Sargsyan”

- In the Section VII. Schedule of Requirements- point 3. Technical Specifications- Full-field Digital Mammography System, Operator’s Workstation and physicians’ workstation, requirement for the medical monitor, should be added with the following words: Resolution not less than 5MP.

Best Regards,

Kristine Sargsyan, Acting director

Hovakim Podosyan, Procurement specialist