***Clarification #2 to BID doc of Procurement of Mobile mammography unit for screening program, Reference No. ICB No: NCDPCP/ICB/A-G/018-01, acc. to Section I. Instructions to bidders, A. General, point 7.1.***

***Inquiry:***

1. In the Section VII. Schedule of Requirements - point 2. “Full-field Digital Mammography System” it is mentioned that operator’s workstation and physicians’ workstation in mobile truck and 4 different hospitals in Yerevan should have 5MP special medical monitor for image view with rotary position. Total quantity of 5MP special medical monitors must be 10 units? Please confirm.

***Respond:***

1. Total number of workstation should be 4 for hospitals, and 2 (1 Operator’s Workstation and 1 Physicians workstation) or 1 combined for truck (mobile breast screening unit), and correspondingly each workstation should have 2 medical monitors. Totally 12 monitors (4+2) or 10 monitors (4 +1 combined).