RFB No: AF EIP ICB-1.5.1.3

Project: ADDITIONAL FINANCING FOR “EDUCATION IMPROVEMENT PROJECT”

Purchaser: Center for Education Projects PIU SA

Country: Armenia

CLARIFICATION NO. 3, answer to the question received on 1 January, 2025

| No | Question | Answer |
| --- | --- | --- |
|  | Lot 2: Electrical Equipment and appliance for Biology, Chemistry and Physics Laboratories Item No.5) Electric Oven: The suggestible maximum temperature for kitchen electric oven is 250oC. Hence, confirm the maximum temperature as 250oC instead of 350oC. | In the technical specification of Electric oven item is stated that the heating temperature maximum range is from 250 to 350°C. |
|  | Lot 3: Accessories and appliances for Biology and Chemistry Laboratory Item No.16) Emergency eye washer: Under the tender specificaitos, it mentioned as Stainless Steel Emergency Eyewash Unit Eye Washer Shower. Do you require us to quote Eye shower with wall mounted eye wash. | In the bidding document the following specification is provided “Wall Mounted Eye Wash Kit/ Stainless Steel Emergency Eyewash Unit/ Eye Washer Shower/ Dimensions: at least 36 x 50 x 10 cm “, which means that any offer matching the above-mentioned options is acceptable: |
|  | Lot 3: Accessories and appliances for Biology and Chemistry Laboratory Item No.22) Glass Vials: The requested capacity of 50ml is not meant for Vials. As Per The Capacity, The the item will be glass reagent bottle. | 50ml glass vials are available on the market. As for the wording, vial is the word used to describe a small bottle used for chemicals. |
|  | Lot 3: Accessories and appliances for Biology and Chemistry Laboratory Item No.23) Glass Vials: The requested capacity of 100ml is not meant for Vials. As Per The Capacity, The the item will be glass reagent bottle. | 100ml glass vials are available on the market. As for the wording, vial is the word used to describe a small bottle used for chemicals. |
|  | Lot 3: Accessories and appliances for Biology and Chemistry Laboratory Item No.120) Multidishes: Please confirm the number of wells. | In the technical specification of Multidishes item stated 10/10 parameter is for 100 wells contained product. |