***Clarification to BID doc of Procurement of Medical, diagnostic equipment, Medical supplies and Medical furniture for "Sevan’’ and “Artashat” MCs comprising of 4 lots, Reference No. CR4/ICB/B-G/018-17***

**Inquiry, regarding location for equipment installation:**

1) Please indicate the location for installation of UPS air conditioner's external block. Are there any restrictions regarding the installation of the UPS air conditioner's external block?

2) Please inform us in which room will be the Computer tomography? Please indicate the room number along with the room number in which the UPS for CT should be installed.

***Respond:***

Location of the equipment as per design documents are following:

Regarding Artashat MC:

-X Ray room #3

-UPS room for both equipment CT and X-Ray is #37

-Blocks for air conditioner could be located on external wall next (behind) to the room #34

-CT should be installed in the room #48 (instead of designed room as a cafe)

Regarding Sevan MC

-X Ray room #7 (first floor)

-UPS room #7.3 (first floor)

- Blocks for air conditioner could be located on external wall next (behind) to the room #7.1