RFB No: AF EIP ICB-1.5.1.3

Project: ADDITIONAL FINANCING FOR “EDUCATION IMPROVEMENT PROJECT”

Purchaser: Center for Education Projects PIU SA

Country: Armenia

CLARIFICATION NO. 2, answer to the question received on 23 December 2024

| No | Question | Answer |
| --- | --- | --- |
|  | Reference is made to item 20 Lot 1 For laboratory distillation condenser glassware, 14/14 is not a correct standard. The proper standard is NS 14/23, where: - NS = Normschliff (standardized joint) - 14 = outer diameter in mm - 23 = joint length in mm the most common standard joints for Liebig glassware are NS 14/23, NS 19/26, and NS 29/32. A 14/14 joint would have a very short connection length that could compromise sealing effectiveness. | The technical specifications of the Liebig Condenser product are correct, and the specifications of the Standard Glass Claisen Adapter and Allonge products are also defined in accordance with these specifications |